## Slide 1
严 琪
2025年7月4日，北京
科学文章撰写实例

## Slide 2
科学文章撰写重要性的“个人体会”
文章是我们的科研作品。人的生命有限，但文章常存。
科学研究需要代表作：作品应精雕细琢，追求完美。
一篇文章，一定程度地体现科研态度与学术修养、展示研究者的追求。透过文章，能感受学者的做事态度和科研水平。
好文章是反复修改出来的！最理想是能找高水平的同事朋友反复修改和迭代，这样写作的水平会迅速提升：
  我在AMS （阿尔法磁谱仪）工作期间，丁肇中先生要求每篇AMS的文章都需全组整体阅读修改30遍以上才能发表。
  在MIT，我们的每篇文章至少需要与同事一起整体修改十遍以上。

## Slide 3
科学文章的结构和要点
Title（标题）：简洁、有区别度、有信息量、便于检索
Abstract（摘要）：由浅入深、信息完整、结构清晰有序、突出亮点
Introduction（引言）
Methods（方法）
Results and Discussion（结果和讨论）
Conclusion（结论）
Acknowledgements（致谢）
Appendix （附录）可选
Reference（参考文献）
科学文章撰写个人总结的原则：简洁精炼（干练不重复）、准确有穿透力（哒、哒、哒）、公正客观（就事论事，不能夸大）、笔墨得当（多的话不多，少的话不少）、层次分明（好的文章不是“平面的”，而是“立体的”）、逻辑严密（前后呼应，有因有果）、有故事有灵魂。
（正文）

## Slide 4
科学文章撰写实例
评价文章带有一定的主观性。我仅以个人的一篇代表文章为实例进行阐述，并不意味这些写法就是最佳范本。不足的地方，欢迎批评指正！
“Alignment of the Alpha Magnetic Spectrometer (AMS) in space, Eur. Phys. J. C 83, 245 (2023)”是我在离开麻省理工学院（MIT）之前发表的最后一篇探测器技术性文章。这篇文章专业技术性强、文章也比较长（近30页），详细介绍了本人开发的AMS（阿尔法磁谱仪）探测器新的准直方法。该文章比较符合今天的讲解实例。

## Slide 5
科学文章撰写“标题”和“摘要”
摘要：The Alpha Magnetic Spectrometer (AMS) is a precision particle physics detector operating at an altitude of ∼410 km aboard the International Space Station. The AMS silicon tracker, together with the permanent magnet, measures the rigidity (momentum/charge) of cosmic rays in the range from ∼0.5 GV to several TV. In order to have accurate rigidity measurements, the positions of more than 2000 tracker modules have to be determined at the micron level by an alignment procedure. The tracker was first aligned using the 400 GeV/c proton test beam at CERN and then re-aligned using cosmic-ray events after being launched into space. A unique method to align the permanent magnetic spectrometer for a space experiment is presented. The developed underlying mathematical algorithm is discussed in detail.
便于检索
加强区别度
（之前实验均在地面实现）
标题
结构清晰有序（由浅到深展开）
信息完整
突出亮点: unique method, developed underlying mathematical algorithm
简洁、有信息量
快速直奔主题
尽量避免使用：study, research, analysis等较模糊的词

## Slide 6
科学文章“引言”的撰写
The Alpha Magnetic Spectrometer (AMS), operating aboard the International Space Station (ISS) since May 2011, is a unique large acceptance magnetic spectrometer in space. It aims to measure energy spectra of cosmic-ray charged particles, nuclei, antiparticles, antinuclei, and gamma-rays in the GeV–TeV region to understand Dark Matter, antimatter, and the origin of cosmic rays, as well as to explore new physics phenomena. The AMS silicon tracker detector, together with the permanent magnet, determines the rigidity (momentum/charge) of charged cosmic rays by multiple measurements of the coordinates along the particle trajectory. High performance of the tracker is crucial for the AMS mission and requires a sophisticated alignment to accurately determine the positions of the detector modules.
In August 2010, before AMS was launched, the complete detector was tested with a 400 GeV/c proton beam at the CERN Super Proton Synchrotron (SPS). This data allows the precise alignment of the tracker with micron accuracy using the procedure described in this paper, which aligns all the detector modules from different mechanical hierarchy levels in one step. The strong accelerations and vibrations during launch, followed by the rapid outgassing of the support structure in vacuum, together with continuous temperature variations in space all change the positions of the tracker modules. The tracker is continuously re-aligned with cosmic-ray events to correct the resulting displacements. The unprecedented challenge in the alignment of the magnetic spectrometer in space is that the detector has to be aligned by using cosmic-ray events with unknown rigidities in the presence of the magnetic field. In this paper, we report a unique mathematical approach which allows to overcome these difficulties and align the tracker to micron precision.
从研究背景（科学意义）过渡到研究对象、研究目标、技术挑战：层层递进
进一步勾勒研究概貌、点到核心问题和难点、突出研究亮点与贡献：引导全篇
突出亮点：crucial, micron accuracy, unprecedented challenge, unique mathematical approach, ….

## Slide 7
科学文章撰写“正文”的章节组织
2整体系统介绍→3-5参数与总体方法→6地面测试→7-8空间运行处理→准直结果
正文章节组织要点：叙事结构清晰、层次分明、逻辑严密、内容完整

## Slide 8
章节的概貌介绍和段落间呼应
Constraints of the composite alignment parameters
For a composite detector which consists of several subcomponents, those modules on the same support structure are likely to have highly correlated displacements … The expressions of all the constraints are derived by our developed grid method described in the following Sects. 4.1–4.3.
In addition, the stretching and shear deformations of the detector as subsets of the linear coordinate transformation will need specific constraints ... In Sect. 4.4, we present our study to deal with this issue.
章节的概貌介绍要清晰（铺垫）：很好的把整个“故事”展开
The track alignment is performed based on the primary 400 GeV/c proton beam, where the positions and orientations of the detector were adjusted 886 times to collect events …
Besides the normal data collection, AMS also collected a special dataset of the 400 GeV/c proton beam, in which the whole detector was rotated around the y-axis by 180◦ to examine the mechanical stability of the tracker, as illustrated in Fig. 7…
使用段落间的呼应可增强文章叙事性

## Slide 9
写文章的小建议：利用好层次关系串接内容
使用总分和并列语句：层次递进、精炼不冗余、 风格统一、逻辑清晰
As shown in Fig. 1, the AMS detector consists of a permanent magnet and an array of particle detectors to measure the velocity β= v/c, absolute charge Q, energy E, and rigidity R of the passing particles.
Within the magnet bore and above and below the magnet are a total of 9 precision silicon tracker layers, L1 to L9. The tracker accurately measures R and Q of the particles.
Above and below the magnet bore are the Upper and Lower Time of Flight (TOF) counters [1]. The TOF provides a charged particle trigger to AMS and determines β and Q of the incoming particles.
The Transition Radiation Detector (TRD) [2], located above the Upper Time of Flight counters, identifies electrons and positrons.
The Ring Imaging Cherenkov detector (RICH) [3], below the Lower Time of Flight counters, measures β and Q of passing particles.
The Electromagnetic Calorimeter (ECAL) [4], at the bottom of AMS, measures E of electromagnetic particles and separates protons from electrons and positrons.
The Anti-Coincidence Counters (ACC) [5], surrounding the inner tracker inside the magnet bore, reject cosmic rays entering AMS from the side.
总览
（从功能出发串接）
各子探测器
（线条和功能）

## Slide 10
写文章的小建议：注重语句的衔接
The central field of the magnet is 1.4 kGauss. In 2010, the field was measured in 120 000 locations to an accuracy of better than 2 Gauss. Comparison with the measurements performed with the same magnet in 1997 shows that the field did not change within 1%.
The AMS tracker comprises 2284 double-sided silicon micro-strip sensors each with a surface area of 41.360×72.045 (active area of 39.832×70.565) mm2 and thickness of 0.300 mm, assembled in 192 mechanical and electrical units called ladders [8]. Each ladder contains 9 to 15 sensors, see Fig. 2a …
巧妙使用“Comparison with …” 结构作为主语，自然引出“磁场稳定性”结果
下语句与上语句直接相关，从大到小层次展开，增加连贯性
The deformation of the support structures of the TRD (M-Structure) [10] and ECAL (Unique Support Structure) [11] due to gravity change or temperature variation (more than ±10 ◦C in space) induce sizable displacements of L1 and L9 with respect to the position of the inner tracker.
多使用短语合并语句：due to… 和induce将两层因果关系浓缩一句中。
With …, Using (ing形式), Compared (ed形式) 也都是很实用对语句进行合并精简

## Slide 11
Before launch, AMS has been aligned based on the primary 400 GeV/c proton test beam as discussed in Sect. 6. However, the strong accelerations and vibrations during launch, followed by the rapid outgassing of the support structure in vacuum permanently changed the positions of all the tracker modules. Therefore, the entire tracker has to be aligned again with cosmic-ray events to correct the resulting displacements.
After the previous dynamic alignment, the external tracker layers have been aligned with respect to the inner tracker. Next, the modules from the external layers and inner tracker can be aligned together to reduce the overall misalignment. In particular, the positions of the external layers in the ladder or sensor level can help to improve the alignment precision of the inner tracker.
自如使用连接词加强文章连贯性、语气和逻辑:
before, after, next, however, therefore, in addition, in particular, moreover, besides, thus, consequently, owing to, whereas, nevertheless, accordingly, conversely …

## Slide 12
The positions of the inner tracker layers should also not change as their planes are firmly embedded in the carbon fiber cylinder. However, the variation of the temperature and gradients across the aluminum mechanical structures (mainly the TRD M-Structure and the Unique Support Structure) lead to continuous periodic movements of the external layers, which are corrected by the dynamic alignment using the concurrently collected cosmic-ray events, mainly protons and helium.
多尝试使用句句之间、句内部一环扣一环、起伏层层递进的表达方式：
For a short time interval with a finite number of cosmic-ray events which are mostly at low rigidities [7,30], the main constraint on the alignment precision of an external layer comes from the multiple scattering due to the materials of between L1 and L2, ∼0.3 X0, or between L8 and L9, ∼0.2 X0 (see Fig. 1). As an example, for a particle with 10 GV rigidity, the average scattering angle between L1 and L2 is ∼0.7 mrad, which corresponds to ∼700 µm smearing on the L1 position using the 1 m extrapolation from the inner tracker. Since multiple scattering and the resulting position smearing decreases linearly with increasing rigidity [21], the efficient usage of cosmic-ray events and particularly those at high rigidities is critical for the precision of the dynamic alignment.

## Slide 13
写文章的小建议：关注图片质量
在科学写作中，图片是不可或缺的重要部分。使用高质量的图示（图片、表格）能直观呈现信息（“一图胜千言”），增强文章的逻辑表达和论证力度，也显著提升整体的专业性与可读性。
横竖坐标框架字体够大、够粗
图标及文字够大、够粗
“图片说明”很重要：应足够详细，解释清晰包括图中的各类元素（如点、线、颜色等），使图能脱离正文自成体系、并被读者准确理解。
尽可能用高清图，矢量图优先

## Slide 14
图片应尽量简洁、避免冗余。表达相同信息应尽量合并、多图的横竖坐标、文字等能合并尽量合并。适当减少坐标刻度密度为数字留出空间，提高可读性。
正文中的图片关联语句常见形式包括：
Figure XXX shows …
As shown in Fig. XXX, …
… is illustrated in Fig. XXX
… can be seen in Fig. XXX
… is presented in Fig. XXX
在句首使用时 ,“Figure XXX” 使用全称，其他建议使缩写“Fig. XXX”。这同样适用Table和Equation等。
常用于图示描述的词汇： show, illustrate, display, present, reveal, demonstrate, indicate, compare, summarize, can be seen, etc
自然切换不同表达方式有助于避免单调。

## Slide 15
写文章的小建议：写好公式表达
公式是文字论述的升华，科学表达的进阶形式。
通过将关键符号穿插在正文叙述，可降低公式的突兀，使其语义上更连贯，提升整体可读性。
公式中每个符号都要必须解释清楚。
符号规则：变量使用斜体（如 x, y, z），函数名、单位用正体（如 sin, cos, log, μm），矩阵和向量分别用大小粗体（如 D, r, d）。在正文中，要避免同一符号多义或歧义。
常用于引导、解释公式的词汇：
is given by, is calculated by, is defined as, can be written as (as), leads to, …
Substituting … into …, solve, obtain, hence, thus, …

## Slide 16
写文章的小建议：充分使用数字、表格论述
科学文章要善于多穿插使用数字、表格来讲述故事：使论述更真实、逻辑更严密，增强说服力与表达的力量，例如：
Each module of the AMS tracker has its own initial mechanical mounting precision varying from a few microns to thousands of microns: the assembly accuracy for a sensor in the ladder is ∼6 µm, the mounting accuracy for a ladder on the layer is ∼70 µm, the installation accuracy for an inner tracker layer is ∼40 µm along x and y and ∼200 µm along z while for an external layer it is ∼1000 µm for x, y, and z. A summary of the initial mounting precision can be found in Table 1a.
With a total of 886 beam spots distributed over ∼250 sensors per layer, the average number of beam spots per sensor is ∼3. Due to the limited beam positions and directions, ∼75% of the sensors with the crucial sensor parameters of Δus , Δvs , and γs can be aligned ...
“表格说明”：应足够详细，解释表格中的各类文字标注；脱离正文能自成体系、并被读者准确理解

## Slide 17
正文中“结果和讨论”部分的撰写
The results of the static alignment are classified into several aspects shown in the following sections.
8.4.1 Displacements of the tracker modules during launch …
8.4.2 Stability of the tracker modules in space …
8.4.3 Alignment precision
After the static alignment, the misalignment in the residual, or incoherent misalignment, is negligible (under a micron as seen in Fig. 26) …
Another source of the misalignment in the static alignment is the misalignment of the curvature, or coherent misalignment …. The curvature misalignment can be split into two parts: (a) the overall curvature bias that will shift the mean of the measured rigidity and (b) the differential curvature bias that will degrade the rigidity resolution.
The overall curvature bias ….
The differential curvature biases … As shown in Fig. 24, after the alignment, the standard deviations of the differential curvature biases … are the misalignments equivalent to ... Considering that the sensor position change … the total differential curvature misalignments equivalent to the position errors of each layer are 2.1 µm, 2.3 µm, and 3.3 µm for R28, R18, and R19 respectively …
结果分模块讨论
Misalignment 种类一
Misalignment 种类二
再细分为两部分分别论述
图示论证
图示论证
数字结果
“结果与讨论”要求：层次结构清晰，论据支持（包括图表和数据）充分，逻辑推理严密，结论明确。

## Slide 18
“结论”的撰写
组织要点：叙事结构清晰、层次分明、逻辑严密、内容完整
2整体系统介绍→3-6参数与总体方法→6地面测试→7空间运行处理→准直结果
Precise alignment of the silicon tracker is invaluable for the success of the AMS mission. We have presented a series of new methods to align the large permanent magnetic spectrometer for the space experiment, starting from the alignment with the test beam data on the ground through the alignment with the cosmic-ray events in space, with an ultimate precision of a few microns achieved under harsh conditions. This allows AMS to accurately measure cosmic rays up to the multi-TV region. As an example, Fig. 29 shows the rigidity resolutions of L1-inner track pattern, σ(1/R18), and of full-span track pattern, σ(1/R19), as functions of the true rigidity for carbon nuclei after the full alignment procedure. The maximal detectable rigidities, RM, with RM σ(1/RM ) ≡ 1, are RM18 = 1.6 TV and RM19 = 3.6 TV, correspondingly.
The developments of the new mathematical alignment algorithms, such as the alignment for the composite detector structure, the alignment for the dynamic system, and the alignment in the presence of the magnetic field, are useful for various HEP experiments equipped with the tracking detectors and particularly valuable for the future spaceborne magnetic spectrometers.
概述这项工作的重要性
结论：凝练重点、表述严谨、条理清晰，突出成果、创新和意义。
总结研究的亮点内容和成果
系统论述研究的重要意义
摆事实数据论证
层层递进枚举研究的亮点成果与创新，并进一步阐述对相关领域的深远意义

## Slide 19
撰写“致谢”和“附录”
组织要点：叙事结构清晰、层次分明、逻辑严密、内容完整
2整体系统介绍→3-6参数与总体方法→6地面测试→7空间运行处理→准直结果
Acknowledgements We acknowledge the continuous support from MIT and its School of Science. We are grateful for the support of the U.S. Department of Energy (DOE), Office of Science (DE-SC-0011848). We thank the strong support from CERN IT department. We thank Dr. Michael Capell for his diligent proofreading of the manuscript.
致谢也是专业素养的体现，致谢对象可以是单位、资助机构、以及帮助校稿的个人（不能包括合作者）：
附录：可放置正文“不必须”的细节，提供补充信息，详细数据、计算过程等

## Slide 20
参考文献一般书写格式：
Author(s), Title of the Article*, Journal Name, Volume, Pages, Year
[1] V. Bindi et al., Nucl. Instrum. Methods Phys. Res. Sect. A 743, 22 (2014). https://doi.org/10.1016/j.nima.2014.01.002
[2] T. Kirn et al., Nucl. Instrum. Methods Phys. Res. Sect. A 706, 43 (2013). https://doi.org/10.1016/j.nima.2012.05.010
[3] M. Aguilar et al., Nucl. Instrum. Methods Phys. Res. Sect. A 614, 237 (2010). https://doi.org/10.1016/j.nima.2009.12.027
[4] C. Adloff et al., Nucl. Instrum. Methods Phys. Res. Sect. A 714, 147 (2013). https://doi.org/10.1016/j.nima.2013.02.020
[5] P. von Doetinchem et al., Nucl. Phys. B Proc. Suppl. 197, 15 (2009). https://doi.org/10.1016/j.nuclphysbps.2009.10.025
…
科学文章撰写“参考文献”
参考文献是提供专业背景、验证论证、扩展内容的重要途径。
The magnet [6] is made of 64 sectors of high-grade Nd-Fe-B assembled in a cylindrical shell.
The field strength is corrected with a measured temperature dependence of −0.09%/◦C [7].
The planes of the inner tracker are firmly held by a cylindrical carbon fiber structure which has near zero coefficient of thermal expansion and excellent mechanical strength [8].
….
除了这些信息，其他信息不要。Issue在正式文章中一般也不推荐写。

## Slide 21
总结
关于如何写好科学文章，今天分享的内容比较有限。难以表述的细节无法在这里涵盖。
但几个关键点需要强调：写作不仅仅是完成任务，更要有对“作品”怀有追求完美和“敬畏”之心。 提升写作水平的最佳方式是与高水平的同事和朋友反复修改迭代，从中学习。
文章的“形式”重要，但最为关键的仍是文章的“逻辑美”—文章的内核与灵魂。科学文章的基本原则：简单精炼、逻辑严密。

## Slide 22
祝愿大家在科研中创作更多优秀的“作品”。
谢谢大家！